Purchasing Options

- https://lightupmenorah.com/

- https://www.publicmenorahs.com/

- http://www.corporatemenorah.com/

- https://www.menorah.net/

Duni: Why are 6' menorahs on menorah.net *double the price* of publicmenorah.com ??

Duni: Publicmenorahs.com

5189‬: We have some from each Menorah.net ones are lighter, more compact and easier to move around

The ones from public menorahs seem to be stronger but are a little heavier and more difficult to move around

‑5189‬: Also, the 6ft from public menorahs doesn't have individual switches for each night, if that makes a difference to you, You could have someone add a new bulb each night if you want though

Yossi Chabad: Menorah.net is aluminum and publicmenorahs.com is steel

Do you keep all 8 Menorah Lights on for all 8 days?

Menorah.net- Has a Menorah Controller to automatically control the lights. The controller could be used to manually set the number of bulbs lit, or could be set to an auto function where a time is set and after 24 hours the next bulb will automatically turn on.

Corporate Menorah

9 switches

public menorahs- Tiki torch compatible

Menorah.net- Tiki torch conversion kit

Light up Menorah- Aluminum Holder+Tiki Torch Canister

Giant Menorah Conversion Kit

https://www.shlichusmarket.com/holiday-supplies/chanukah/candle-lighting-kit.html

Power Source

1) LED chargeable bulbs or TomCare solar lights.

Shlichus market will be selling

2)  Battery

Car batteries sound the most shayech,

- make sure you get low watts LED light bulbs, Walmart has 4W ones.

B) car batteries operate a 12V, most prob your Menorah is 120V so you'll

need an inverter. C) get an electrician to do it, you'll have to merge

cables and also you want to make sure is out door safe. But it is doable.

You might need to switch out the battery a few times over Chanukah.

3)  Generator

- a generator is heavy but it is worth it's weight in gold in some places, make sure to chain it to something that won't move

- all 9 bulbs (at 75 watts each) are 675 watts add to that any spotlights and make sure you have a generator that gives a good amount more electricity (the number advertised is the highest amount it gets to not the one were it

idles at)

-if you're doing an event there, be sure to put it far away and use an extension cord (at least for the event) it makes a lot of noise,

You can get electric generators that are almost inaudible

-buy gas cans big enough to fill it (you'll probably/certainly need to refill each night)

A solar generator is also cool and you can promote that is a green Menorah,

it's a expense tho, but if you have a green baalhabotim can be a good

pitch :)

4) Street lamps

In several places I've been there have been outlets in the street lamps, either exposed, or under a screwed panel.

I don't know if this will help you, but just putting it out there, look around to see if it's there. if

you see it and use it, usually no one will ask questions, and if it's under a panel etc. if there is someone working there you can ask with a breitkeit, are you the one who knows how to open this? we need to use it for our menorah display, uchedomeh.

Drawings for building Car Menorah and a 6ft menorah from wood

http://www.shluchimexchange.com/en/article.html?h=785&o=2834849#

Menorah Sign

https://www.shlichusmarket.com/holiday-supplies/chanukah/menorahsign.html